# EXPERIMENT – 4							DATE:24/10/26

## INDUSTRIAL HVAC CONTROL FIRMWARE: ADC TEMPERATURE ACQUISITION AND TIMER-INTERRUPT PWM FAN CONTROL

## Objectives of this Experiment:

- To understand the operation of the Arduino UNO ADC for analog temperature acquisition.

- To interface an LM35 temperature sensor with the Arduino UNO.

- To acquire and convert the LM35 analog output into temperature values using Embedded C programming.

- To implement timer-interrupt-based software PWM for fan-speed control.

- To control an HVAC fan according to the measured temperature.

- To display the temperature and corresponding PWM duty cycle through the Proteus Virtual Terminal.

- To simulate and verify the HVAC control firmware using Proteus software.

# OUTPUT PARAMETER TABLE – VALUES TO BE RECORDED

| S. No. | Output Parameter | Expected Value / Condition | Practical / Simulated Observation |
| --- | --- | --- | --- |
| 1 | Temperature Acquisition | LM35 read through A0 | Verified / Not Verified |
| 2 | Temperature < 25°C | PWM = 0% | Verified / Not Verified |
| 3 | Temperature 25–29°C | PWM = 30% | Verified / Not Verified |
| 4 | Temperature 30–34°C | PWM = 60% | Verified / Not Verified |
| 5 | Temperature ≥ 35°C | PWM = 90% | Verified / Not Verified |
| 6 | Fan Control | Fan responds to PWM | Verified / Not Verified |
| 7 | Serial Output | Temp. and PWM displayed | Verified / Not Verified |
| 8 | Continuous Operation | Control repeats continuously | Verified / Not Verified |

# RUBRIC:

| Objective | Assessment Criterion | Weightage | Marks |
| --- | --- | --- | --- |
| Develop the Proteus circuit | Circuit Design and Configuration | 2.5 |  |
| Develop the Embedded C program | Program Development | 2.5 |  |
| Implement Timer-Interrupt PWM | PWM Control Implementation | 2.5 |  |
| Verify HVAC fan control | Simulation and Result Analysis | 2.5 |  |
| Total |  | 10 |  |

Experiment uploaded in GitHub on : https://github.com/Hamrudha68/ECA-1414-EMBEDDED-SYSTEM-/tree/main/Folder-4